## CFL
Application |  | Kitchen | Bedroom | Bathroom
Old Watts
| Number of fixtures | 8 | 4 | 3
| Wattage | 75 | 60 | 60
| Extended watts | 600 | 240 | 180
New Watts
| Number of fixtures | 4 | 2 | 2
| Wattage | 45 | 40 | 30
| Extended watts | 180 | 80 | 60
Watts saved |  | 420 | 160 | 120
Hours per day |  | 6 | 2 | 2.5
Hours per year |  | 2190 | 730 | 912.5
Energy rate per KWH |  | 0.08 | 0.08 | 0.08
Annual Savings |  | 73.584 | 9.344 | 8.76
Life time savings (10 year) |  | 735.84 | 93.44 | 87.6
Cost of lamps (life time - 10 years)
Incandescent @ $2.00 lamp cost & 750 hour lamp life |  | 467.2 | 77.8667 | 73
Flourescent @ $7.50 lamp cost & 20,000 hour lamp life |  | 32.85 | 5.475 | 6.8438
Lamp savings |  | 434.35 | 72.3917 | 66.1562
Total lifetime savings |  | 1170.19 | 165.8317 | 153.7562

## LED
Application |  | Kitchen
Halogen Lamp
| Number of fixtures | 8
| Wattage per Lamp | 50
| Extended watts | 400
LED Lamp
| Number of fixtures | 8
| Wattage per Lamp | 16.3
| Extended watts | 130.4
Watts saved |  | 269.6
Hours per day |  | 8
Hours per year 365 days |  | 2920
Energy rate per KWH |  | 0.08
Annual Savings |  | 62.9786
Lifetime Energy Savings (10 year) |  | 629.7856
|  |  |  | Lamp cost Year 1 | Lamp cost Year 2 | Lamp cost Year 3 | Lamp cost Year 4 | Lamp cost Year 5 | Lamp cost Year 6 | Lamp cost Year 7 | Lamp cost Year 8 | Lamp cost Year 9 | Lamp cost Year 10
Halogen @ $10.13 lamp cost & 2500 hour lamp life |  | 81.04 | Lamp Cost | 81.04 | 81.04 | 81.04 | 81.04 | 81.04 | 81.04 | 81.04 | 81.04 | 81.04 | 81.04
Labor Cost @ $75 per hour 2 minutes per lamp |  | 20 | Labor Cost (to change lamps) | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
HVAC Wasted Energy |  | 6 | HVAC Wasted Energy | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
Lamp Energy Cost |  | 93.44 | Lamp Energy Cost | 93.44 | 93.44 | 93.44 | 93.44 | 93.44 | 93.44 | 93.44 | 93.44 | 93.44 | 93.44
Annual Operating Cost |  | 200.48 |  | 200.48 | 400.96 | 601.44 | 801.92 | 1002.4 | 1202.88 | 1403.36 | 1603.84 | 1804.32 | 2004.8
|  |  |  | Lamp cost Year 1 | Lamp cost Year 2 | Lamp cost Year 3 | Lamp cost Year 4 | Lamp cost Year 5 | Lamp cost Year 6 | Lamp cost Year 7 | Lamp cost Year 8 | Lamp cost Year 9 | Lamp cost Year 10
LED @ $45 lamp cost & 45,000 hour lamp life |  | 360 | Lamp Cost | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Labor Cost @ $75 per hour 2 minutes per lamp |  | 20 | Labor Cost (to change lamps) | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HVAC Wasted Energy |  | 0 | HVAC Wasted Energy | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lamp Energy Cost |  | 30.4614 | Lamp Energy Cost | 30.4614 | 30.4614 | 30.4614 | 30.4614 | 30.4614 | 30.4614 | 30.4614 | 30.4614 | 30.4614 | 30.4614
Annual Operating Cost |  | 410.4614 |  | 410.4614 | 440.9229 | 471.3843 | 501.8458 | 532.3072 | 562.7686 | 593.2301 | 623.6915 | 654.153 | 684.6144
Life time Operation Savings (10 year) |  | 1320.1856