## Sheet1
Lightology Lamp Chart
Lamp Type | Incandescent | Halogen High Voltage, 120 volt | Low Voltage Halogen 12 Volt | Florescent T5,T8,T12 | Florescent CFLs | LED
Technology | Old technology that is very inefficient, least expensive to purchase but is costly to run. Dims easy. Goverment will try to faze them out over the next 10 years. | Proven light source of 30+ years. 50% more efficient than a standard Incandescent, wattage ranage ffor 50-300 watts, dims easly with standard incandescent dimmer | Proven light source of 30+ years. Smaller lamp, so smaller fixtures. Wide variety of lamps for beam control, great color, 50% more efficient than an Incandescent but run a little Hotter , wattages range from 5-100 watts, Dims but must be matched with the correct type of transformer. | Proven light source of 30+ years. With new high CRI's and warm color 0f 2700K -3000K color is no longer a problem. Large lamp and fixture , can not focus beam. Wattage range from 17 watts to 110 watts. Most do not dim and expensive to dim | Proven light source of 30+ years. With new high CRI's and warm color 0f 2700K -3000K color is no longer a problem. Large lamp and fixture , can not focus beam. Major manufactures of CFLs lamps do Not Dim. | Advanced technology that continues to evolve at a rapid pace and is taking over the lighting industry. Very green, no waste, No Mercury, must be careful of color CCT and CRI, look for DOE department of Energy Lighting Facts label. Many LEDs do dim, but must be match with the correct Dimmer and power supply
Lumens per watt( efficacy) | 9-18 lumens per watt | 18-20 lumens per watt | 18-20 lumens per watt | 50-100 lumens per watt | 35-70 lumens per watt | 35-100 lumens per watt
Average Lamp Life in Hours | 700 hrs | 2000 hrs | 2000-10,000 hrs | 10,000-20,000 hrs | 10000 | 35,000-50,000 hrs
Color Temperature | 2400K very warm white 2700K warm white | 3100K-3200K white | 2900K-3200K white | 2700K-6500K warm white to daylight white | 2700K-6500K warm white to daylight white | 2400K,-6500K very warm white to daylight white and RGB (RED, BLUE, GREEN)
CRI Color Rendering Index ( above 85 is good) | 100 | 100 | 100 | 70-92 | 70-90 | 70-95+
Beam spreads in degs | 60 to120 floods and 360 | 30 to 60 spots to flood and 360 degs | 10 to 60 spots to flood and 360 degs | 360 only, with reflector 120 deg | 360 degrees light spread | 10 to120 narrow spot to wide flood beams and 360 degs
Dimmable ? | With an Incandescent Dimmer as low as $4 dimmer | With an Incandescent Dimmer as low as $4 dimmer | With a Low Voltage dimmer that must match with the type of Transformer $34 min cost | Only a few T5 and T8 Florescent lamps dim with special ballast +$170 and 0-10 volt dimmer $150 | Not yet | Many LEDs do dim, but must be matched with the correct Dimmer from Low voltage Electric $34 to 0-10 volt dimmer
Needs a Ballast, Transformer or LED power supply? | no | no | Transformer, Magnetic or Electronic | Ballast | Ballast | LED Power supply
cost of lamp | $ | $$ | $$ | $$$ | $$$ | $$ to $$$
Cost for Electricity | $$$$ | $$$ | $$ | $ | $ | $
Recycling | Contain glass and tungsten filament should be recycled | Contain glass and tungsten filament should be recycled | Contain glass and tungsten filament should be recycled | Contain a small amount of mercury and should be recycled at special Florescent bins | Contain a small amount of mercury and should be recycled at special Florescent bins | Contain electronic parts and should be recycled (like computers or cell phones)
Warranty to look for | none | none | none | 2-year warranty | 2-year warranty | 3- to 5-year warranty
Replacement Bulbs | yes, Med base, candelabra for the next 10 years | yes Med base and special Bi-pin | yes special Bi-pin lamps | Special "pin-based" bulbs available for replacement | Special "pin-based" bulbs available for replacement along with medium base lamps | LEDs are part of the fixture and typically not replaceable
On/Off Time | Instant on | Instant on | Instant on | Typically less than 1 second to turn on and up to 3 minutes to reach 80% brightness | Typically less than 1 second to turn on and up to 3 minutes to reach 80% brightness | Instant on
Visble light | 8% | 8% | 8% | 21% | 21% | up to 25%
Infrared heat IR | 73% | 73% | 73% | 37% | 37% | 0%
Filter or Gells | Few | Few | yes | yes | no | few