## Voltage Drop Calculator
Voltage Drop Calculator When Using a Dimmer
12 Volt Calculator
| Voltage | Wattage | Size of Copper Gauge Wire | Tap |  | Range (In Feet)
| 12 | 75 | 8 | 12.3 | 12-75-8-12.3 | N/A
24 Volt Calculator
| Voltage | Wattage | Size of Copper Gauge Wire | Tap |  | Range (In Feet)
| 24 | 350 | 8 | 26.6 | 24-350-8-26.6 | 20 to 86
Voltage Drop Calculator Without a Dimmer
12 Volt Calculator
| Voltage | Wattage | Size of Copper Gauge Wire | Tap |  | Range (In Feet)
| 12 | 20 | 10 | 15.3 | 12-20-10-15.3 | 210 to 248
24 Volt Calculator
| Voltage | Wattage | Size of Copper Gauge Wire | Tap |  | Range (In Feet)
| 24 | 400 | 8 | 30.6 | 24-400-8-30.6 | 315 to 372

## Sheet2
Voltage | Wattage | Dimmer | Tap | vdrop | Range | Voltage | Wattage12 | Dimmer | Tap
12 | 100 | 10 | 12.3 | 12-100-10-12.3 | N/A | 12 | 20 | 8 | 12.3
12 | 100 | 10 | 13.3 | 12-100-10-13.3 | 11 to 47 | 24 | 35 | 10 | 13.3
12 | 100 | 10 | 14.3 | 12-100-10-14.3 | 66 to 102 |  | 50 |  | 14.3
12 | 100 | 10 | 15.3 | 12-100-10-15.3 | 121 to 157 |  | 75 |  | 15.3
12 | 100 | 8 | 12.3 | 12-100-8-12.3 | N/A |  | 100 |  | 24.6
12 | 100 | 8 | 13.3 | 12-100-8-13.3 | 18 to 75 |  | 150 |  | 26.6
12 | 100 | 8 | 14.3 | 12-100-8-14.3 | 105 to 163 |  | 200 |  | 28.6
12 | 100 | 8 | 15.3 | 12-100-8-15.3 | 193 to 250 |  | 240 |  | 30.6
12 | 150 | 10 | 12.3 | 12-150-10-12.3 | N/A |  | 300
12 | 150 | 10 | 13.3 | 12-150-10-13.3 | 7 to 31 |  | Wattage24
12 | 150 | 10 | 14.3 | 12-150-10-14.3 | 44 to 68 |  | 150
12 | 150 | 10 | 15.3 | 12-150-10-15.3 | 81 to 105 |  | 200
12 | 150 | 8 | 12.3 | 12-150-8-12.3 | N/A |  | 250
12 | 150 | 8 | 13.3 | 12-150-8-13.3 | 12 to 50 |  | 300
12 | 150 | 8 | 14.3 | 12-150-8-14.3 | 70 to 108 |  | 350
12 | 150 | 8 | 15.3 | 12-150-8-15.3 | 128 to 167 |  | 350
12 | 200 | 10 | 12.3 | 12-200-10-12.3 | N/A |  | 400
12 | 200 | 10 | 13.3 | 12-200-10-13.3 | 5 to 23 |  | 450
12 | 200 | 10 | 14.3 | 12-200-10-14.3 | 33 to 51 |  | 500
12 | 200 | 10 | 15.3 | 12-200-10-15.3 | 60 to 78 |  | 550
12 | 200 | 8 | 12.3 | 12-200-8-12.3 | N/A |  | 600
12 | 200 | 8 | 13.3 | 12-200-8-13.3 | 9 to 37
12 | 200 | 8 | 14.3 | 12-200-8-14.3 | 52 to 81
12 | 200 | 8 | 15.3 | 12-200-8-15.3 | 96 to 125
12 | 20 | 10 | 12.3 | 12-20-10-12.3 | N/A
12 | 20 | 10 | 13.3 | 12-20-10-13.3 | 57 to 237
12 | 20 | 10 | 14.3 | 12-20-10-14.3 | 332 to 513
12 | 20 | 10 | 15.3 | 12-20-10-15.3 | 608 to 788
12 | 20 | 8 | 12.3 | 12-20-8-12.3 | N/A
12 | 20 | 8 | 13.3 | 12-20-8-13.3 | 91 to 378
12 | 20 | 8 | 14.3 | 12-20-8-14.3 | 529 to 815
12 | 20 | 8 | 15.3 | 12-20-8-15.3 | 967 to 1253
12 | 240 | 10 | 12.3 | 12-240-10-12.3 | N/A
12 | 240 | 10 | 13.3 | 12-240-10-13.3 | 4 to 19
12 | 240 | 10 | 14.3 | 12-240-10-14.3 | 26 to 41
12 | 240 | 10 | 15.3 | 12-240-10-15.3 | 48 to 63
12 | 240 | 8 | 12.3 | 12-240-8-12.3 | N/A
12 | 240 | 8 | 13.3 | 12-240-8-13.3 | 7 to 30
12 | 240 | 8 | 14.3 | 12-240-8-14.3 | 42 to 65
12 | 240 | 8 | 15.3 | 12-240-8-15.3 | 77 to 100
12 | 300 | 10 | 12.3 | 12-300-10-12.3 | N/A
12 | 300 | 10 | 13.3 | 12-300-10-13.3 | 3 to 15
12 | 300 | 10 | 14.3 | 12-300-10-14.3 | 22 to 34
12 | 300 | 10 | 15.3 | 12-300-10-15.3 | 40 to 52
12 | 300 | 8 | 12.3 | 12-300-8-12.3 | N/A
12 | 300 | 8 | 13.3 | 12-300-8-13.3 | 6 to 25
12 | 300 | 8 | 14.3 | 12-300-8-14.3 | 35 to 54
12 | 300 | 8 | 15.3 | 12-300-8-15.3 | 64 to 83
12 | 35 | 10 | 12.3 | 12-35-10-12.3 | N/A
12 | 35 | 10 | 13.3 | 12-35-10-13.3 | 32 to 135
12 | 35 | 10 | 14.3 | 12-35-10-14.3 | 190 to 293
12 | 35 | 10 | 15.3 | 12-35-10-15.3 | 347 to 450
12 | 35 | 8 | 12.3 | 12-35-8-12.3 | N/A
12 | 35 | 8 | 13.3 | 12-35-8-13.3 | 52 to 216
12 | 35 | 8 | 14.3 | 12-35-8-14.3 | 302 to 466
12 | 35 | 8 | 15.3 | 12-35-8-15.3 | 552 to 716
12 | 50 | 10 | 12.3 | 12-50-10-12.3 | N/A
12 | 50 | 10 | 13.3 | 12-50-10-13.3 | 23 to 95
12 | 50 | 10 | 14.3 | 12-50-10-14.3 | 133 to 205
12 | 50 | 10 | 15.3 | 12-50-10-15.3 | 243 to 315
12 | 50 | 8 | 12.3 | 12-50-8-12.3 | N/A
12 | 50 | 8 | 13.3 | 12-50-8-13.3 | 36 to 151
12 | 50 | 8 | 14.3 | 12-50-8-14.3 | 211 to 326
12 | 50 | 8 | 15.3 | 12-50-8-15.3 | 386 to 501
12 | 75 | 10 | 12.3 | 12-75-10-12.3 | N/A
12 | 75 | 10 | 13.3 | 12-75-10-13.3 | 15 to 63
12 | 75 | 10 | 14.3 | 12-75-10-14.3 | 88 to 136
12 | 75 | 10 | 15.3 | 12-75-10-15.3 | 162 to 210
12 | 75 | 8 | 12.3 | 12-75-8-12.3 | N/A
12 | 75 | 8 | 13.3 | 12-75-8-13.3 | 24 to 100
12 | 75 | 8 | 14.3 | 12-75-8-14.3 | 141 to 217
12 | 75 | 8 | 15.3 | 12-75-8-15.3 | 257 to 334
24 | 150 | 10 | 24.6 | 24-150-10-24.6 | N/A
24 | 150 | 10 | 26.6 | 24-150-10-26.6 | 30 to 126
24 | 150 | 10 | 28.6 | 24-150-10-28.6 | 177 to 273
24 | 150 | 10 | 30.6 | 24-150-10-30.6 | 324 to 420
24 | 150 | 8 | 24.6 | 24-150-8-24.6 | N/A
24 | 150 | 8 | 26.6 | 24-150-8-26.6 | 48 to 201
24 | 150 | 8 | 28.6 | 24-150-8-28.6 | 282 to 435
24 | 150 | 8 | 30.6 | 24-150-8-30.6 | 515 to 668
24 | 200 | 10 | 24.6 | 24-200-10-24.6 | N/A
24 | 200 | 10 | 26.6 | 24-200-10-26.6 | 23 to 95
24 | 200 | 10 | 28.6 | 24-200-10-28.6 | 133 to 205
24 | 200 | 10 | 30.6 | 24-200-10-30.6 | 243 to 315
24 | 200 | 8 | 24.6 | 24-200-8-24.6 | N/A
24 | 200 | 8 | 26.6 | 24-200-8-26.6 | 36 to 151
24 | 200 | 8 | 28.6 | 24-200-8-28.6 | 211 to 326
24 | 200 | 8 | 30.6 | 24-200-8-30.6 | 386 to 501
24 | 250 | 10 | 24.6 | 24-250-10-24.6 | N/A
24 | 250 | 10 | 26.6 | 24-250-10-26.6 | 18 to 76
24 | 250 | 10 | 28.6 | 24-250-10-28.6 | 106 to 164
24 | 250 | 10 | 30.6 | 24-250-10-30.6 | 194 to 252
24 | 250 | 8 | 24.6 | 24-250-8-24.6 | N/A
24 | 250 | 8 | 26.6 | 24-250-8-26.6 | 29 to 120
24 | 250 | 8 | 28.6 | 24-250-8-28.6 | 169 to 261
24 | 250 | 8 | 30.6 | 24-250-8-30.6 | 309 to 401
24 | 300 | 10 | 24.6 | 24-300-10-24.6 | N/A
24 | 300 | 10 | 26.6 | 24-300-10-26.6 | 15 to 63
24 | 300 | 10 | 28.6 | 24-300-10-28.6 | 88 to 136
24 | 300 | 10 | 30.6 | 24-300-10-30.6 | 162 to 210
24 | 300 | 8 | 24.6 | 24-300-8-24.6 | N/A
24 | 300 | 8 | 26.6 | 24-300-8-26.6 | 24 to 100
24 | 300 | 8 | 28.6 | 24-300-8-28.6 | 141 to 217
24 | 300 | 8 | 30.6 | 24-300-8-30.6 | 257 to 334
24 | 350 | 10 | 24.6 | 24-350-10-24.6 | N/A
24 | 350 | 10 | 26.6 | 24-350-10-26.6 | 13 to 54
24 | 350 | 10 | 28.6 | 24-350-10-28.6 | 76 to 117
24 | 350 | 10 | 30.6 | 24-350-10-30.6 | 139 to 180
24 | 350 | 8 | 24.6 | 24-350-8-24.6 | N/A
24 | 350 | 8 | 26.6 | 24-350-8-26.6 | 20 to 86
24 | 350 | 8 | 28.6 | 24-350-8-28.6 | 120 to 186
24 | 350 | 8 | 30.6 | 24-350-8-30.6 | 221 to 286
24 | 400 | 10 | 24.6 | 24-400-10-24.6 | N/A
24 | 400 | 10 | 26.6 | 24-400-10-26.6 | 11 to 47
24 | 400 | 10 | 28.6 | 24-400-10-28.6 | 66 to 102
24 | 400 | 10 | 30.6 | 24-400-10-30.6 | 121 to 157
24 | 400 | 8 | 24.6 | 24-400-8-24.6 | N/A
24 | 400 | 8 | 26.6 | 24-400-8-26.6 | 18 to 75
24 | 400 | 8 | 28.6 | 24-400-8-28.6 | 105 to 163
24 | 400 | 8 | 30.6 | 24-400-8-30.6 | 193 to 250
24 | 450 | 10 | 24.6 | 24-450-10-24.6 | N/A
24 | 450 | 10 | 26.6 | 24-450-10-26.6 | 10 to 42
24 | 450 | 10 | 28.6 | 24-450-10-28.6 | 59 to 91
24 | 450 | 10 | 30.6 | 24-450-10-30.6 | 108 to 140
24 | 450 | 8 | 24.6 | 24-450-8-24.6 | N/A
24 | 450 | 8 | 26.6 | 24-450-8-26.6 | 16 to 67
24 | 450 | 8 | 28.6 | 24-450-8-28.6 | 94 to 145
24 | 450 | 8 | 30.6 | 24-450-8-30.6 | 171 to 222
24 | 500 | 10 | 24.6 | 24-500-10-24.6 | N/A
24 | 500 | 10 | 26.6 | 24-500-10-26.6 | 9 to 38
24 | 500 | 10 | 28.6 | 24-500-10-28.6 | 53 to 82
24 | 500 | 10 | 30.6 | 24-500-10-30.6 | 97 to 126
24 | 500 | 8 | 24.6 | 24-500-8-24.6 | N/A
24 | 500 | 8 | 26.6 | 24-500-8-26.6 | 14 to 60
24 | 500 | 8 | 28.6 | 24-500-8-28.6 | 84 to 130
24 | 500 | 8 | 30.6 | 24-500-8-30.6 | 154 to 200
24 | 550 | 10 | 24.6 | 24-550-10-24.6 | N/A
24 | 550 | 10 | 26.6 | 24-550-10-26.6 | 8 to 34
24 | 550 | 10 | 28.6 | 24-550-10-28.6 | 48 to 74
24 | 550 | 10 | 30.6 | 24-550-10-30.6 | 88 to 114
24 | 550 | 8 | 24.6 | 24-550-8-24.6 | N/A
24 | 550 | 8 | 26.6 | 24-550-8-26.6 | 13 to 54
24 | 550 | 8 | 28.6 | 24-550-8-28.6 | 76 to 118
24 | 550 | 8 | 30.6 | 24-550-8-30.6 | 140 to 182
24 | 600 | 10 | 24.6 | 24-600-10-24.6 | N/A
24 | 600 | 10 | 26.6 | 24-600-10-26.6 | 7 to 31
24 | 600 | 10 | 28.6 | 24-600-10-28.6 | 44 to 68
24 | 600 | 10 | 30.6 | 24-600-10-30.6 | 81 to 105
24 | 600 | 8 | 24.6 | 24-600-8-24.6 | N/A
24 | 600 | 8 | 26.6 | 24-600-8-26.6 | 12 to 50
24 | 600 | 8 | 28.6 | 24-600-8-28.6 | 70 to 108
24 | 600 | 8 | 30.6 | 24-600-8-30.6 | 128 to 167
12 | 100 | 10 | 12.3 | 12-100-10-12.3 | 18 to 54
12 | 100 | 10 | 13.3 | 12-100-10-13.3 | 78 to 114
12 | 100 | 10 | 14.3 | 12-100-10-14.3 | 138 to 174
12 | 100 | 10 | 15.3 | 12-100-10-15.3 | 198 to 234
12 | 100 | 8 | 12.3 | 12-100-8-12.3 | 28 to 85
12 | 100 | 8 | 13.3 | 12-100-8-13.3 | 124 to 181
12 | 100 | 8 | 14.3 | 12-100-8-14.3 | 219 to 277
12 | 100 | 8 | 15.3 | 12-100-8-15.3 | 315 to 372
12 | 150 | 10 | 12.3 | 12-150-10-12.3 | 12 to 36
12 | 150 | 10 | 13.3 | 12-150-10-13.3 | 52 to 76
12 | 150 | 10 | 14.3 | 12-150-10-14.3 | 92 to 116
12 | 150 | 10 | 15.3 | 12-150-10-15.3 | 132 to 156
12 | 150 | 8 | 12.3 | 12-150-8-12.3 | 19 to 57
12 | 150 | 8 | 13.3 | 12-150-8-13.3 | 82 to 120
12 | 150 | 8 | 14.3 | 12-150-8-14.3 | 146 to 184
12 | 150 | 8 | 15.3 | 12-150-8-15.3 | 210 to 248
12 | 200 | 10 | 12.3 | 12-200-10-12.3 | 9 to 27
12 | 200 | 10 | 13.3 | 12-200-10-13.3 | 39 to 57
12 | 200 | 10 | 14.3 | 12-200-10-14.3 | 69 to 87
12 | 200 | 10 | 15.3 | 12-200-10-15.3 | 99 to 117
12 | 200 | 8 | 12.3 | 12-200-8-12.3 | 14 to 42
12 | 200 | 8 | 13.3 | 12-200-8-13.3 | 62 to 90
12 | 200 | 8 | 14.3 | 12-200-8-14.3 | 109 to 138
12 | 200 | 8 | 15.3 | 12-200-8-15.3 | 157 to 186
12 | 20 | 10 | 12.3 | 12-20-10-12.3 | 90 to 270
12 | 20 | 10 | 13.3 | 12-20-10-13.3 | 390 to 570
12 | 20 | 10 | 14.3 | 12-20-10-14.3 | 690 to 871
12 | 20 | 10 | 15.3 | 12-20-10-15.3 | 991 to 1171
12 | 20 | 8 | 12.3 | 12-20-8-12.3 | 143 to 429
12 | 20 | 8 | 13.3 | 12-20-8-13.3 | 620 to 907
12 | 20 | 8 | 14.3 | 12-20-8-14.3 | 1098 to 1385
12 | 20 | 8 | 15.3 | 12-20-8-15.3 | 1576 to 1862
12 | 240 | 10 | 12.3 | 12-240-10-12.3 | 7 to 21
12 | 240 | 10 | 13.3 | 12-240-10-13.3 | 31 to 45
12 | 240 | 10 | 14.3 | 12-240-10-14.3 | 55 to 69
12 | 240 | 10 | 15.3 | 12-240-10-15.3 | 79 to 93
12 | 240 | 8 | 12.3 | 12-240-8-12.3 | 11 to 34
12 | 240 | 8 | 13.3 | 12-240-8-13.3 | 49 to 72
12 | 240 | 8 | 14.3 | 12-240-8-14.3 | 87 to 110
12 | 240 | 8 | 15.3 | 12-240-8-15.3 | 126 to 149
12 | 300 | 10 | 12.3 | 12-300-10-12.3 | 6 to 18
12 | 300 | 10 | 13.3 | 12-300-10-13.3 | 26 to 38
12 | 300 | 10 | 14.3 | 12-300-10-14.3 | 46 to 48
12 | 300 | 10 | 15.3 | 12-300-10-15.3 | 66 to 78
12 | 300 | 8 | 12.3 | 12-300-8-12.3 | 9 to 28
12 | 300 | 8 | 13.3 | 12-300-8-13.3 | 41 to 60
12 | 300 | 8 | 14.3 | 12-300-8-14.3 | 73 to 92
12 | 300 | 8 | 15.3 | 12-300-8-15.3 | 105 to 124
12 | 35 | 10 | 12.3 | 12-35-10-12.3 | 51 to 154
12 | 35 | 10 | 13.3 | 12-35-10-13.3 | 223 to 326
12 | 35 | 10 | 14.3 | 12-35-10-14.3 | 394 to 497
12 | 35 | 10 | 15.3 | 12-35-10-15.3 | 566 to 669
12 | 35 | 8 | 12.3 | 12-35-8-12.3 | 81 to 245
12 | 35 | 8 | 13.3 | 12-35-8-13.3 | 354 to 518
12 | 35 | 8 | 14.3 | 12-35-8-14.3 | 627 to 791
12 | 35 | 8 | 15.3 | 12-35-8-15.3 | 900 to 1064
12 | 50 | 10 | 12.3 | 12-50-10-12.3 | 36 to 108
12 | 50 | 10 | 13.3 | 12-50-10-13.3 | 156 to 228
12 | 50 | 10 | 14.3 | 12-50-10-14.3 | 276 to 348
12 | 50 | 10 | 15.3 | 12-50-10-15.3 | 396 to 468
12 | 50 | 8 | 12.3 | 12-50-8-12.3 | 57 to 171
12 | 50 | 8 | 13.3 | 12-50-8-13.3 | 248 to 362
12 | 50 | 8 | 14.3 | 12-50-8-14.3 | 439 to 554
12 | 50 | 8 | 15.3 | 12-50-8-15.3 | 630 to 745
12 | 75 | 10 | 12.3 | 12-75-10-12.3 | 24 to 72
12 | 75 | 10 | 13.3 | 12-75-10-13.3 | 104 to 152
12 | 75 | 10 | 14.3 | 12-75-10-14.3 | 184 to 232
12 | 75 | 10 | 15.3 | 12-75-10-15.3 | 264 to 312
12 | 75 | 8 | 12.3 | 12-75-8-12.3 | 38 to 114
12 | 75 | 8 | 13.3 | 12-75-8-13.3 | 165 to 241
12 | 75 | 8 | 14.3 | 12-75-8-14.3 | 292 to 369
12 | 75 | 8 | 15.3 | 12-75-8-15.3 | 420 to 496
24 | 150 | 10 | 24.6 | 24-150-10-24.6 | 48 to 144
24 | 150 | 10 | 26.6 | 24-150-10-26.6 | 208 to 304
24 | 150 | 10 | 28.6 | 24-150-10-28.6 | 368 to 464
24 | 150 | 10 | 30.6 | 24-150-10-30.6 | 528 to 624
24 | 150 | 8 | 24.6 | 24-150-8-24.6 | 76 to 229
24 | 150 | 8 | 26.6 | 24-150-8-26.6 | 331 to 483
24 | 150 | 8 | 28.6 | 24-150-8-28.6 | 585 to 738
24 | 150 | 8 | 30.6 | 24-150-8-30.6 | 840 to 993
24 | 200 | 10 | 24.6 | 24-200-10-24.6 | 36 to 108
24 | 200 | 10 | 26.6 | 24-200-10-26.6 | 156 to 228
24 | 200 | 10 | 28.6 | 24-200-10-28.6 | 276 to 348
24 | 200 | 10 | 30.6 | 24-200-10-30.6 | 396 to 468
24 | 200 | 8 | 24.6 | 24-200-8-24.6 | 57 to 171
24 | 200 | 8 | 26.6 | 24-200-8-26.6 | 248 to 362
24 | 200 | 8 | 28.6 | 24-200-8-28.6 | 439 to 554
24 | 200 | 8 | 30.6 | 24-200-8-30.6 | 630 to 745
24 | 250 | 10 | 24.6 | 24-250-10-24.6 | 28 to 86
24 | 250 | 10 | 26.6 | 24-250-10-26.6 | 124 to 182
24 | 250 | 10 | 28.6 | 24-250-10-28.6 | 221 to 278
24 | 250 | 10 | 30.6 | 24-250-10-30.6 | 317 to 374
24 | 250 | 8 | 24.6 | 24-250-8-24.6 | 45 to 137
24 | 250 | 8 | 26.6 | 24-250-8-26.6 | 198 to 290
24 | 250 | 8 | 28.6 | 24-250-8-28.6 | 351 to 443
24 | 250 | 8 | 30.6 | 24-250-8-30.6 | 504 to 596
24 | 300 | 10 | 24.6 | 24-300-10-24.6 | 24 to 72
24 | 300 | 10 | 26.6 | 24-300-10-26.6 | 104 to 152
24 | 300 | 10 | 28.6 | 24-300-10-28.6 | 184 to 232
24 | 300 | 10 | 30.6 | 24-300-10-30.6 | 264 to 312
24 | 300 | 8 | 24.6 | 24-300-8-24.6 | 38 to 114
24 | 300 | 8 | 26.6 | 24-300-8-26.6 | 165 to 241
24 | 300 | 8 | 28.6 | 24-300-8-28.6 | 292 to 369
24 | 300 | 8 | 30.6 | 24-300-8-30.6 | 420 to 496
24 | 350 | 10 | 24.6 | 24-350-10-24.6 | 20 to 61
24 | 350 | 10 | 26.6 | 24-350-10-26.6 | 89 to 130
24 | 350 | 10 | 28.6 | 24-350-10-28.6 | 157 to 199
24 | 350 | 10 | 30.6 | 24-350-10-30.6 | 226 to 267
24 | 350 | 8 | 24.6 | 24-350-8-24.6 | 32 to 98
24 | 350 | 8 | 26.6 | 24-350-8-26.6 | 141 to 207
24 | 350 | 8 | 28.6 | 24-350-8-28.6 | 351 to 316
24 | 350 | 8 | 30.6 | 24-350-8-30.6 | 360 to 425
24 | 400 | 10 | 24.6 | 24-400-10-24.6 | 18 to 54
24 | 400 | 10 | 26.6 | 24-400-10-26.6 | 78 to 114
24 | 400 | 10 | 28.6 | 24-400-10-28.6 | 138 to 174
24 | 400 | 10 | 30.6 | 24-400-10-30.6 | 198 to 234
24 | 400 | 8 | 24.6 | 24-400-8-24.6 | 28 to 85
24 | 400 | 8 | 26.6 | 24-400-8-26.6 | 124 to 181
24 | 400 | 8 | 28.6 | 24-400-8-28.6 | 219 to 277
24 | 400 | 8 | 30.6 | 24-400-8-30.6 | 315 to 372
24 | 450 | 10 | 24.6 | 24-450-10-24.6 | 16 to 48
24 | 450 | 10 | 26.6 | 24-450-10-26.6 | 69 to 101
24 | 450 | 10 | 28.6 | 24-450-10-28.6 | 122 to 154
24 | 450 | 10 | 30.6 | 24-450-10-30.6 | 176 to 208
24 | 450 | 8 | 24.6 | 24-450-8-24.6 | 25 to 76
24 | 450 | 8 | 26.6 | 24-450-8-26.6 | 110 to 161
24 | 450 | 8 | 28.6 | 24-450-8-28.6 | 195 to 246
24 | 450 | 8 | 30.6 | 24-450-8-30.6 | 280 to 331
24 | 500 | 10 | 24.6 | 24-500-10-24.6 | 14 to 43
24 | 500 | 10 | 26.6 | 24-500-10-26.6 | 62 to 91
24 | 500 | 10 | 28.6 | 24-500-10-28.6 | 110 to 139
24 | 500 | 10 | 30.6 | 24-500-10-30.6 | 158 to 187
24 | 500 | 8 | 24.6 | 24-500-8-24.6 | 22 to 68
24 | 500 | 8 | 26.6 | 24-500-8-26.6 | 99 to 145
24 | 500 | 8 | 28.6 | 24-500-8-28.6 | 175 to 221
24 | 500 | 8 | 30.6 | 24-500-8-30.6 | 252 to 298
24 | 550 | 10 | 24.6 | 24-550-10-24.6 | 13 to 39
24 | 550 | 10 | 26.6 | 24-550-10-26.6 | 56 to 83
24 | 550 | 10 | 28.6 | 24-550-10-28.6 | 100 to 126
24 | 550 | 10 | 30.6 | 24-550-10-30.6 | 144 to 170
24 | 550 | 8 | 24.6 | 24-550-8-24.6 | 20 to 62
24 | 550 | 8 | 26.6 | 24-550-8-26.6 | 90 to 131
24 | 550 | 8 | 28.6 | 24-550-8-28.6 | 159 to 201
24 | 550 | 8 | 30.6 | 24-550-8-30.6 | 229 to 270
24 | 600 | 10 | 24.6 | 24-600-10-24.6 | 12 to 36
24 | 600 | 10 | 26.6 | 24-600-10-26.6 | 52 to 76
24 | 600 | 10 | 28.6 | 24-600-10-28.6 | 92 to 116
24 | 600 | 10 | 30.6 | 24-600-10-30.6 | 132 to 156
24 | 600 | 8 | 24.6 | 24-600-8-24.6 | 19 to 57
24 | 600 | 8 | 26.6 | 24-600-8-26.6 | 82 to 120
24 | 600 | 8 | 28.6 | 24-600-8-28.6 | 146 to 184
24 | 600 | 8 | 30.6 | 24-600-8-30.6 | 210 to 248